ABF comments on Wayfinding Standards AS1428.4.2 – 15 February 2016

| Section | Section ID | Paragraph / Table / figure / Comment / Note | Page Number | Comment type | Comment detail | Proposed change |
| --- | --- | --- | --- | --- | --- | --- |
| Foreword | Foreword | 7 | 7 | Editorial | Inconsistent use of “vision impaired” and “low vision” Proposed change aims at strengthening concepts of non-visual and visual needs | Change all references within document from “people with vision impairment” and “people who are blind or have vision impairment” to “people who have low vision” / “people who are blind or have low vision” |
| 1 | 1.1 Scope | Para 2 | 9 | Editorial | Inappropriate use of term “blind or vision impaired people” | Change to “people who are blind or have low vision” (See comment above) |
| 2 | 2.2 General | Note | 13 | Editorial | Information to alert people using the standard that all pedestrian entrances whether deemed accessible or not need to be a part of the wayfinding system is not clearly articulated | Additional note that specifically links all pedestrian entrances to the wayfinding system |
| 2 | 2.2 General | Note | 13 | Editorial | Note 2 is advisory but raises information about requirements from AS1428.1. This should be a normative element of the standard (similar to shorelines being a part of the CAPT (Section 2.5) | Move requirements of Note 2 to be a part of 2.4 Wayfinding path A wayfinding path shall include - CAPT, door luminance, stair, ramp, and visual indicators requirements in accordance with AS1428.1, where provided - a minimum width of 1000mm etc. |
| 2 | 2.3 | Note | 13 | Editorial | Whilst stated in section 2.2 (a), note required that accessible site and premises signage required at all pedestrian entrances |  |
| 2 | 2.4 | Note 1 | 14 | Editorial | Note 1 states that stairs are often a ‘preferred’ means of vertical circulation for people who are blind or have low vision. A preference for stairs or an elevator varies amongst people who are blind or have low vision. | Change to “Stairs as a means of vertical circulation are also used by people who are blind or have low vision”. |
| 3 | 3.6 | Non-raised tactile signage | 35 | Technical | No information provided at an accessible level | Note required stating that where possible visual information to be provided at an accessible level |
| Annexure B |  | Figure B72 | 79 | Technical | Pictogram depicting ‘ticketing’ is obscure and abstract and could be confusing. It is not clear it is relates to a ticketing machine – it could be any type of machine. | A clearer pictogram is required to ensure it is clear it relates to ticketing. An example of a clearer pictogram is in the attached supporting document. |
| Annexure E | E | E.5.2.2 | 89 | Editorial | The sentence ‘Information should be of a size that can be seen by a person with tunnel vision’ is too specific to a particular condition and one of the effects of that condition. | Change to ‘Information should be of a size that can be seen by a person who has low vision’. |
| Annexure E | E | E.5.6 | 91 | Editorial | Last sentence is missing the word ‘rely’. | Change to ‘People who use a guide dog do not have this same connection with ground level information and may rely wholly on tactile feedback from their feet.’ |